|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| E003/002  Haier Medical and Laboratory Products, HBD 116, Vaccine/waterpacks freezer, AC electricity | **E003/003**  Haier Medical and Laboratory Products, HBD 286, Vaccine/waterpacks freezer, AC electricity | **E003/004**  B Medical Systems Sarl (Dometic), TFW 800, Waterpacks freezer, AC electricity | **E003/017**  B Medical Systems Sarl (Dometic), TCW3000 AC, Two-mode vaccine refrigerator OR waterpack freezer, AC electricity |
|  |  |  |  |
| **E003/023**  Vestfrost Solutions, MF 314, Vaccine/waterpacks freezer | **E003/024**  Vestfrost Solutions, MF 114, Vaccine/waterpacks freezer, AC electricity | **E003/025**  Vestfrost Solutions, MF 214, Vaccine/waterpacks freezer, AC electricity | **E003/031**  Vestfrost Solutions, VLS 200 Green line, Two-mode vaccine refrigerator OR waterpack freezer |
|  |  |  |  |
| **E003/060**  AUCMA C0. Ltd., DW-25W147, Vaccine/Waterpack freezer | **E003/061**  AUCMA C0. Ltd., DW-25W300, Vaccine/Waterpack freezer | **E330M**  Dometic, RCW 42AC/CF, Chest refrigerator, AC electricity | **E380M**  Dometic, TFW 800, Chest freezer, AC electricity |
|  |  |  |  |
| **E394M (PIS)**  Dometic, RCW 50 AC, Chest refrigerator, AC electricity | **E399M (PIS)**  Dometic, FCW 300, Chest freezer, AC electricity | **E3100M (PIS)**  Dometic, FCW 200, Chest freezer, AC electricity | **E3110M (PIS)**  PT. Dilihan Glory, DOVLINE, Chest refrigerator, AC electricity |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E003/005**  Haier Medical and Laboratory Products, HBC 70, Icelined refrigerator | **E003/006**  Haier Medical and Laboratory Products, HBC 200, Icelined refrigerator | **E003/007**  Vestfrost Solutions, MK 304, Icelined refrigerator | **E003/010**  Vestfrost Solutions, MKF 074, Combined icelined refrigerator/waterpacks freezer |
|  |  |  |  |
| **E003/011**  Vestfrost Solutions, MK 204, Icelined refrigerator | **E003/012**  Vestfrost Solutions, MK 404, Icelined refrigerator | **E003/013**  The Sure Chill Company Ltd., BLF100 AC, Icelined refrigerator | **E003/014**  B Medical Systems Sarl (Dometic), TCW2000 AC, Combined icelined refrigerator/waterpaks freezer |
|  |  |  |  |
| **E003/021**  Vestfrost Solutions, VLS 400, Icelined refrigerator | **E003/022**  Vestfrost Solutions, MK 144, Icelined refrigerator | **E003/032**  Vestfrost Solutions, VLS 300, Icelined refrigerator | **E003/033**  Vestfrost Solutions, VLS 350, Icelined refrigerator |
|  |  |  |  |
| **E003/034**  Haier Medical and Laboratory Products, HBC-110, Icelined refrigerator | **E003/036**  Zero Appliances (Pty) Ltd, ZLF 100AC, Icelined refrigerator | **E003/038**  Haier Medical and Laboratory Products, HBC-340, Icelined refrigerator | **E003/044**  Zero Appliances (Pty) Ltd, ZLF150AC, Icelined refrigerator ZLF150AC |
|  |  |  |  |
| **E003/046**  Godrej & Boyce MFG. Co. Ltd., GVR 50 AC (Sure Chill®), Icelined refrigerator | **E003/047**  Godrej & Boyce MFG. Co. Ltd., GVR 100 AC (Sure Chill®), Icelined refrigerator | **E003/051**  Zero Appliances (Pty) Ltd, ZLF30AC, Ice-lined refrigerator |  |
|  |  |  |  |
| **E324M (PIS)**  Dometic, TCW 1152/CF, Icelined refrigerator | **E357M (PIS)**  Vestfrost, MK 144, Icelined refrigerator | **E362M (PIS)**  Dometic, TCW 1990, Icelined refrigerator | **E364M (PIS)**  LEC Refrigeration PLC, VC 139 F, Icelined refrigerator |
|  | **Action required:**  Add pictures and descriptions, with unique ID for any common non PQS or PIS equipment, to support standardized data collection. |  |  |
| **E3107M (PIS)**  Dometic, TCW 3000, Icelined refrigerator |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E3102M**  Zero, GR 265 K/E, Icepack freezer, electricity & kerosene | **E395M**  Zero, PF 230 IP KE, Chest freezer, electricity & kerosene | **E391M**  Dometic, RCW 50 EK, Chest refrigerator; electricity & gas | **E388M**  Dometic, RCW 50 EG/CF, Chest refrigerator; electricity & gas |
|  |  |  |  |
| **E373M**  Dometic, FCW 20 EK/CF, Chest freezer, electricity & kerosene | **E372M**  Dometic, FCW 20 EG/CF, Chest freezer, electricity & gas | **E322M**  Dometic, RCW 42 EK/CF, Chest refrigerator; electricity & kerosene | **E321M**  Dometic, RCW 42 EG/CF, Chest refrigerator; electricity & gas |
|  |  |  |  |
| **E3108M**  Zero, PR 265 K/E, Upright refrigerator; electricity & kerosene | **E390M**  Zero, GR 245 G/E, Upright refrigerator; electricity & gas | **E389M**  Zero, PR 245 K/E, Upright refrigerator; electricity & kerosene | **E387M**  Sibir, V 110 KE, Upright refrigerator; electricity & kerosene |
|  |  |  | **Action required:**  Add pictures and descriptions, with unique ID for any common non PQS or PIS equipment, to support standardized data collection. |
| **E386M**  Sibir, V 110 GE, Upright refrigerator; electricity & gas | **E385M**  Sibir, V 170 EK, Upright refrigerator; electricity & kerosene | **E384M**  Sibir, V 170 GE, Upright refrigerator; electricity & gas |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E003/001**  B Medical Systems Sarl (Dometic), TCW2000DC, Battery solar powered refrigerator/freezer | **E003/008**  B Medical Systems Sarl (Dometic), TCW3000 DC, Battery solar refrigerator OR waterpacks freezer | **E003/026**  Dulas Solar, VC 65-2, Battery solar powered refrigerator/ freezer | **E003/027**  Dulas Solar, VC 150-2, Battery solar powered refrigerator/ freezer |
|  |  |  |  |
| **E003/028**  Dulas Solar, VC 200-1, Battery solar powered refrigerator | **E383**  TATA BP Solar, TBP VR 50, Solar PV refrigerator | **E331M**  Dometic, RCW 42DC/CF, Solar photovoltaic refrigerator | **E337M**  BP Solar, VR50F, Solar photovoltaic refrigerator |
|  |  |  |  |
| **E365M**  Norcoast, NRC 30-10, Solar photovoltaic refrigerator | **E370M**  Fortum AES, CFS49 ISI, Solar photovoltaic refrigerator | **E392M**  Norcoast, Model 120-30, Solar photovoltaic refrigerator | **E393M**  Dometic, RCW 50DC/CF, Solar photovoltaic refrigerator |
|  | No image available |  |  |
| **E377M**  Sun Frost, RFVB, Solar photovoltaic refrigerator | **E3101M**  Solamatic, PVR150, Solar photovoltaic refrigerator | **E3104M**  Kyocera Solar, VaccPack XL 2100, Solar photovoltaic refrigerator | **E3105M**  Kyocera Solar, VaccPack XL 6000, Solar PV refrigerator |
|  |  | **Action required:**  Add pictures and descriptions, with unique ID for any common non PQS or PIS equipment, to support standardized data collection. |  |
| **E3106M**  Bright Light Solar, PS65, Solar photovoltaic refrigerator | **E3109M**  Bright Light Solar, PS40, Solar photovoltaic refrigerator |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **E003/009**  Vestfrost Solutions, MKS 044, Solar direct drive, ancillary battery refrigerator | **E003/019**  The Sure Chill Company Ltd., BLF100 DC, Solar direct drive refrigerator | **E003/020**  SunDanzer Refrigeration Inc., BFRV55, Solar direct drive refrigerator | **E003/029**  Haier Medical and Laboratory Products, HTC-60, Solar direct drive, ancillary battery refrigerator |
|  |  |  |  |
| **E003/030**  B Medical Systems Sarl (Dometic), TCW3000 SDD, Solar direct drive refrigerator | **E003/035**  B Medical Systems Sarl (Dometic), TCW2000 SDD, Solar direct drive refrigerator/freezer | **E003/037**  Zero Appliances (Pty) Ltd, ZLF100DC, Solar direct drive refrigerator | **E003/039**  SunDanzer Refrigeration Inc., BFRV15, Solar direct drive refrigerator BFRV15 SDD |
|  |  |  |  |
| **E003/040**  Dulas Solar, VC200SDD, Solar Direct Drive Refrigerator | **E003/041**  Vestfrost Solutions, VLS 054 Green line SDD, Solar direct drive refrigerator VLS054 | **E003/042**  B Medical Systems Sarl (Dometic), TCW40SDD, Solar direct drive refrigerator/freezer TCW 40 SDD | **E003/043**  B Medical Systems Sarl (Dometic), TCW 2043 SDD, Solar direct drive refrigerator/freezer TCW2043SDD |
|  |  |  |  |
| **E003/045**  B Medical Systems Sarl (Dometic), TCW3043SDD, Solar direct drive refrigerator TCW3043SDD | **E003/048**  Dulas Solar, VC150SDD, Solar Direct Drive Combined Refrigerator/Freezer | **E003/049**  Godrej & Boyce MFG. Co. Ltd., GVR50DC SDD, Solar Direct Drive Refrigerator | **E003/050**  Godrej & Boyce MFG. Co. Ltd., GVR 100 DC (SureChill®), Solar Direct Drive Refrigerator |
|  |  |  |  |
| **E003/052**  Zero Appliances (Pty) Ltd, ZLF150DC, Solar direct drive refrigerator | **E003/053**  Vestfrost Solutions, VLS094 Greenline SDD, Solar direct drive refrigerator | **E003/054**  Vestfrost Solutions, VLS154 Greenline SDD, Solar direct drive refrigerator | **E003/055**  Zero Appliances (Pty) Ltd, ZLF30DC SDD, Solar direct drive refrigerator |
|  |  |  |  |
| **E003/056**  Haier Medical and Laboratory Products Co., Ltd, HTC-60H, Solar direct drive, ancillary battery refrigerator | **E003/057**  Haier Medical and Laboratory Products Co., Ltd, HTCD-160, Solar Direct Drive Combined Refrigerator/Freezer | **E003/058**  Dulas Solar, Dulas VC110 SDD, Solar Direct Drive vaccine refrigerator | **E003/059**  Dulas Solar, VC88 SDD, Solar Direct Drive vaccine refrigerator |
| **Action required:**  Add pictures and descriptions, with unique ID for any common non PQS or PIS equipment, to support standardized data collection. |  |  |  |
|  |  |  |  |